Alu. Tilt Combi chair 2025

*Alu. Combi chair can be adjusted from - 5 to 30 Made of powder-coated aluminum.

*Available with gas or electric tilt.

*Seat, back and the elevating armrests are covered with soft polyurethane.

*The leg supports are height adjustable and can be easily removed.

*Comes standard with bucket with a lid and adjustable headrest

*Available with 24 "wheels

Alu. Combi chair Art No. 2025

HMI: 64256

Technical specification:

Frame: 	Aluminum powder coated

Seat height: 	54-59 cm.

Seat width: 	50 cm.

Seat depth: 	43 cm.

Max user weight: 	150 kg.

Total weight: 	16 kg

Back height: 	47 cm

Total length: 	93 cm.

Total width: 	61 cm

Max Outside Toilet Width: ………..…………………. 45 cm

Adjustable height: 	90-95 cm.